## Slide 1: vSphere Data Protector (VDP)
Tony Foster @wonder_nerd
Systems Engineer
vExpert 2012, VCP 4/5
Eagle Software, Inc. Salina KS
REDACTED

## Slide 2: Legal Mumbo Jumbo VDP Statements
The material contained herein is based on Beta interactions with this product.
  Functionality, operations, views, screen captures, and all other features & functions described or contained herein may differ in the GA release of the software.
The views and opinions expressed herein are those of the presenter & do not constitute or reflect the views of VMware, Inc., it’s partners, or associated entities, or the presenters employer.
REDACTED

## Slide 3: What is VDP
VDP is a fast powerful backup tool for VM’s
Constructed using EMC’s Avamar backup solution.
Provides deduplication across all VDP backups.
Fully integrated with the vSphere Web Interface
End user file level recovery capabilities
Its included with vSphere 5.1 Essentials Plus licensing & above
REDACTED

## Slide 4: What VDP is not
VMware Data Recovery (VDR) rebranded.
A way to backup to tape.
Incompatible with your existing backup solution.
Complicated
Agent based.
REDACTED

## Slide 5: What do we need for VDP?
VMware vCenter Server 5.1
VMware ESX/ESXi 4.0, 4.0i, 4.1i, 5.0i, 5.1
The VDP Appliance
  Review the VDP documentation to determine the correct size and quantity of VDP appliances you need.
Best Practice: Is to use storage not associated with the VM’s you are going to protect.
REDACTED

## Slide 6: Setting up VDP
We’ll navigate to our vCenter and under the Actions drop down Deploy the VDP OVF
REDACTED

## Slide 7: Setting up VDP
We select the OVF for the VDP appliance.
REDACTED

## Slide 8: Setting up VDP
Review the EULA (this will look differently in the GA release).
REDACTED

## Slide 9: Setting up VDP
Select the location to deploy the appliance.
REDACTED

## Slide 10: Setting up VDP
Select the appropriate resources
REDACTED

## Slide 11: Setting up VDP
Select the storage to house the Appliance.
REDACTED

## Slide 12: Setting up VDP
Connect the appliance to the appropriate network.
REDACTED

## Slide 13: Setting up VDP
Enter basic setup information for the appliance.
REDACTED

## Slide 14: Setting up VDP
Confirm the settings.
REDACTED

## Slide 15: Setting up VDP
Open a browser to the name of the appliance at port 8543. (https://<appliance>:8543/vdp-configure/)
REDACTED

## Slide 16: Setting up VDP
Login to the appliance with:
  User: root
  Password: changeme
REDACTED

## Slide 17: Setting up VDP
Review the network settings.
REDACTED

## Slide 18: Setting up VDP
Set the time zone for the appliance.
REDACTED

## Slide 19: Setting up VDP
Create a VDP password to replace changeme
REDACTED

## Slide 20: Setting up VDP
Enter credentials for the vCenter.
REDACTED

## Slide 21: Setting up VDP
Reboot the Appliance.
REDACTED

## Slide 22: Setting up VDP
And now we wait ~ 30 minutes while it sets up.
That’s it. We are ready to use VDP
REDACTED

## Slide 23: VDP Caveats
DNS resolution must be working correctly.
The appliances password must be 9 characters long.
Best Practice: Storage should be different from where your production VM’s are stored.
REDACTED

## Slide 24: Backups with VDP
We’ll connect to our VDP appliance in the vSphere Web Client.
REDACTED

## Slide 25: Backups with VDP
Click the New button to create a backup
REDACTED

## Slide 26: Backups with VDP
We’ll follow the bouncing ball to configure a backup.
REDACTED

## Slide 27: Backups with VDP
To start a backup we’ll click the Backup Now button
REDACTED

## Slide 28: Scheduling VDP Backups
Note: Backups occur at the end of the maintenance window or when run administratively with the Backup Now button.
REDACTED

## Slide 29: Whole VM Restores VDP
To restore a whole VM we can simply go to the Restore tab. Expand the VM we wish to recover and then click the Restore button.
REDACTED

## Slide 30: File Level Restores with VDP
We launch the File Level Recovery (FLR) by opening a web browser and pointing it to our VDP appliance.
  We can then select the backup we wish to restore from and the file we wish to restore.
Note that the File Level Restore is performed from the VM where the backup was taken.
REDACTED

## Slide 31: Reports from VDP
VDP reports can be seen through the vSphere Web Client.
REDACTED

## Slide 32: Reports from VDP
VDP also has the ability to email reports daily with the status of backup jobs.
REDACTED

## Slide 33: Protecting VDP
Checkpointing allows for protection of the Appliance its self.
REDACTED

## Slide 34: My Take on VDP
Great solution that provides enterprise level protection.
Fast & Efficient
Reduces IT staff load by allowing users File Level Restore capabilities.
Simple to use.
And the best part is its free!!!
REDACTED

## Slide 35: Reference Material VDP
Chad’s World Episode 7 - http://www.emc.com/community/chads-world/
vSphere Data Protection Administration Guide – http://www.vmware.com/ *
*Documentation links will be added at GA
REDACTED

## Slide 36: Quick Questions about VDP
Contact Information:
  Company Website: www.totalbackups.com
  Personal Website: www.wondernerd.net
  @wonder_nerd on Twitter
  Email: Tony.Foster@wondernerd.net
REDACTED